## Overview
Preliminary assessment of site solar irradiance
Project | Kadınhanı
Geographical coordinates | 38.247064°, 32.238556° (38°14'49", 032°14'19")
Report generated | 30 Dec 2023
Generated by | Global Solar Atlas
Map link | https://globalsolaratlas.info/map?s=38.247064,32.238556,10

## Site_info
Project | Kadınhanı
Location | unnamed road, Kadınhanı, Türkiye
Geographical coordinates | 38.247064°, 32.238556° (38°14'49", 032°14'19")
Time zone | UTC+03, Europe/Istanbul [TRT]
Elevation | 1110 m

## Map_data
Map data
Specific photovoltaic power output | PVOUT_specific | 1581 | kWh/kWp
Direct normal irradiation | DNI | 1808 | kWh/m²
Global horizontal irradiation | GHI | 1708.1 | kWh/m²
Diffuse horizontal irradiation | DIF | 615.7 | kWh/m²
Global tilted irradiation at optimum angle | GTI_opta | 1952.8 | kWh/m²
Air temperature | TEMP | 12.6 | °C
Optimum tilt of PV modules | OPTA | 33 | °
Terrain elevation | ELE | 1110 | m

## Monthly_averages
Monthly averages
DNI
kWh/m²
Jan | 80.9
Feb | 98.1
Mar | 122.9
Apr | 141.2
May | 173.3
Jun | 196.8
Jul | 236.1
Aug | 226.6
Sep | 188.4
Oct | 140.9
Nov | 115
Dec | 79.5
Yearly | 1799.8

## Hourly_profiles
Average hourly profiles
Direct normal irradiation [Wh/m²]
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0 - 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 - 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 - 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 - 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 - 5 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0
5 - 6 | 0 | 0 | 0 | 21 | 130 | 186 | 159 | 56 | 0 | 0 | 0 | 0
6 - 7 | 0 | 0 | 60 | 208 | 330 | 393 | 420 | 381 | 257 | 74 | 1 | 0
7 - 8 | 66 | 155 | 257 | 353 | 434 | 511 | 565 | 556 | 494 | 358 | 229 | 72
8 - 9 | 252 | 331 | 354 | 432 | 515 | 590 | 669 | 667 | 606 | 466 | 412 | 266
9 - 10 | 311 | 398 | 404 | 482 | 569 | 642 | 735 | 741 | 685 | 530 | 479 | 324
10 - 11 | 350 | 430 | 433 | 502 | 578 | 659 | 761 | 777 | 718 | 554 | 512 | 353
11 - 12 | 363 | 435 | 445 | 495 | 554 | 634 | 752 | 777 | 701 | 546 | 510 | 348
12 - 13 | 346 | 424 | 442 | 478 | 514 | 592 | 716 | 737 | 670 | 533 | 501 | 345
13 - 14 | 334 | 408 | 443 | 466 | 485 | 548 | 674 | 686 | 631 | 505 | 477 | 338
14 - 15 | 306 | 398 | 429 | 435 | 451 | 504 | 620 | 617 | 567 | 465 | 427 | 305
15 - 16 | 240 | 341 | 364 | 373 | 400 | 456 | 555 | 541 | 498 | 379 | 273 | 204
16 - 17 | 42 | 181 | 277 | 304 | 340 | 407 | 496 | 460 | 386 | 135 | 11 | 13
17 - 18 | 0 | 1 | 54 | 159 | 252 | 339 | 404 | 296 | 67 | 0 | 0 | 0
18 - 19 | 0 | 0 | 0 | 0 | 38 | 93 | 90 | 17 | 0 | 0 | 0 | 0
19 - 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 - 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 - 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 - 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 - 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum | 2610 | 3502 | 3962 | 4708 | 5590 | 6557 | 7616 | 7309 | 6280 | 4545 | 3832 | 2568

## Glossary
Acronyms and glossary
Acronym | Full name | Unit | Type of use
DIF | Diffuse horizontal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of diffuse horizontal irradiation (© 2023 Solargis)
DNI | Direct normal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of direct normal irradiation (© 2023 Solargis)
ELE | Terrain elevation | m, ft | Elevation of terrain surface above/below sea level, processed and integrated from SRTM-3 data and related data products (SRTM v4.1 © 2004 - 2023, CGIAR-CSI)
GHI | Global horizontal irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global horizontal irradiation (© 2023 Solargis)
GTI | Global tilted irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation (© 2023 Solargis)
GTI opta | Global tilted irradiation at optimum angle | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation for PV modules fix-mounted at optimum angle (© 2023 Solargis)
OPTA | Optimum tilt of PV modules | ° | Optimum tilt of fix-mounted PV modules facing towards Equator set for maximizing GTI input (© 2023 Solargis)
PVOUT_specific | Specific photovoltaic power output | kWh/kWp | Yearly and monthly average values of photovoltaic electricity (AC) delivered by a PV system and normalized to 1 kWp of installed capacity (© 2023 Solargis)
PVOUT_total | Total photovoltaic power output | kWh, MWh, GWh | Yearly and monthly average values of photovoltaic electricity (AC) delivered by the total installed capacity of a PV system (© 2023 Solargis)
TEMP | Air temperature | °C, °F | Average yearly, monthly and daily air temperature at 2 m above ground. Calculated from outputs of ERA5 model (© 2023 ECMWF, post-processed by Solargis)